## README
Workbook description
Tabs
| Port requirements: | Preferred fabrication port requirements for major OSW components, as specified by OEMS
| Database and screening: | A list of relevant ports and their relevant specifications, with a suitability score for each OSW component based on a comparison between specifications and component port requirements
| Scenarios: | A list of required manufacturing facilities for a domestic OSW supply chain with assigned fabrication ports based on suitability scores and other factors. Also includes potential timelines and operational dates
Major assumptions
Database excludes already announced marshaling or fabrication ports, assuming that there is no remaining space for new announcements
Database excludes ports smaller than XXXX
Port suitability is grouped into 4 categories:
|  | 0 | Not suitable for a particular component
|  | 1 | May be suitable for a particular componentbut requires major upgrades. Assume 5 years and 200M
|  | 2 | May be suitable for a particular componentbut requires minor upgrades. Assume 1 year and $50M
|  | 3 | The port is already suitable for a particular component
Port specificaitons include an 'OSW availability' metric which estimates the % of the port resources that could be allocated to OSW (0 - 1)
Scenarios list the total number of manufacturing facilities required for a domestic manufacturing scneario (provided by NREL)
Scenario ports are identified based on database screening, and could incorporate other metrics (provided by NREL)
Timeframe for operational fabrication facility is calculated based on announced date + port development time (from port suitability score) + facility construction and permitting (provided by NREL, scaled by overlap % of any work that can be done in parallel with port work)

## Port requirements
Preferred OEM port requirements for major offshore wind components
Component | Laydown area (acres) | Quayside length (m) | WTIV draft (m) | Feeder barge draft (m) | Bearing capacity (t/m2)
Blade
Nacelle
Tower
Monopile
Jacket
Cable
Transition piece
Steel plate

## Database and screening
Database of port characteristics and screening for individual OSW component suitability
Suitability scoring: | 0 | Not suitable
| 1 | Requires major upgrades (5 years, $200M)
| 2 | Requires minor upgrades (1 years, $50M)
| 3 | Already suitable | [6 empty] | All dummy data here for now
|  |  | Port Characteristics | [5 empty] | Component suitability
Port | State | Region | Laydown area (acres) | Quayside length (m) | Berth depth (m) | Channel depth (m) | Bearing capacity (t/m2) | OSW availability (%) | Blade | Nacelle | Tower | Monopile | Jacket | Cable | Transition piece | Steel plate
Searsport | ME | Northeast Atlantic | 42 | 484 | 9.75 | 9.75 |  |  | 1 | 2 | 2 | 1 | 0 | 0 | 2
Boston Auto Port | MA | Northeast Atlantic | 81 | 335 | 12 | 10.67 |  |  | 0 | 1 | 0 | 0 | 0 | 0 | 0
Port of Prov | RI | Northeast Atlantic | 20 | 1067 | 10.67 | 10.67 |  |  | 1 | 3 | 1 | 0 | 0 | 1 | 1
NE Atlantic Summary
Number of unsuitable ports | [8 empty] | 1 | 0 | 1 | 2 | 3 | 2 | 1
Number of major upgrade ports | [8 empty] | 2 | 1 | 1 | 1 | 0 | 1 | 1
Number of minor upgrade ports | [8 empty] | 0 | 1 | 1 | 0 | 0 | 0 | 1
Number of suitable ports | [8 empty] | 0 | 1 | 0 | 0 | 0 | 0 | 0
Etc

## Scenario
Domestic manufacturing scenarios with identified fabrication ports
All dummy data here for now
| Location |  |  | Timeline
Factory | Port | State | Region | Announcement date | Port upgrade duration (yrs) | Facility construction (yrs) | Port/facility overlap (%) | COD
Blade 1 | Port of Providence | RI | Northeast Atlantic | 2023 | 5 | 3.5 | 0.2 | 2030
Blade 2 | Etc
Blade 3 | Etc
Nacelle 1 | Searsport | ME | Northeast Atlantic | 2024 | 1 | 3 | 0 | 2028
Tower 1 | Etc
Tower 2 | Etc
Array cable 1 | Etc
Export cable 1 | Etc
Export cable 2 | Etc
Steel plate 1 | Etc
Transition piece 1 | Etc